Instructions to Change 2CB5-S Filter Cartridge

The new 2CB5-S filter has been provided with purchase orders since early 2025.  The new 2CB5-S filter will last 12 months.  The steps below guide a customer or plumber to do this.

The cartridge needs to be replaced every 12 months in line with warranty requirements.

Steps to Change 2CB5-S Filter Cartridge

- Power off the boiler (and the chiller if you have one).

- Turn off your water (cold mains stopcock under the sink)

- Have a towel ready under your filter

- Twist off the current cartridge (little water may come out)

- Push up into the mounting bracket slightly and twist on the new cartridge securely

- Turn on your water (cold mains stopcock under the sink)

- Run the filtered chilled/ambient water for 5 mins to flush through the new cartridge. If Signature (electronic) tap, run two cycles of the blue sensor.

- To reset the filter flashing symbol on the boiler, hold the bottom temp sensor until it beeps (approx. 5 secs)

- Power on the boiler and chiller units again

To reset the 6-month FILTER timer on the boiler:

- Power off the boiler by holding your thumb on the top sensor

- Hold the bottom temperature sensor with your thumb until it beeps – approx. 4-5 secs

- Power on the boiler by holding your thumb on the top sensor

The filter indicator will have stopped flashing.

Overleaf for system diagram examples to understand where the filter is in the system set up

Diagrams also available in your installation manual or our Product Spec document on the website.

Trouble Shooting please ring below:

Business hours call 03 9122 0716

After hours call 0475 018 753

Flagship Boiling Ambient

Signature Pullout Boling Chilled